SULTAN AZLAN SHAH POWER STATION  
TNB JANAMANJUNG SDN BHD  
CHEMICAL SERVICES AND ENVIRONMENT SECTION

MONTHLY REPORT  
**April 2019**

1. Environment Performance Update

|  |  |  |
| --- | --- | --- |
| **Parameter** |  | **Status / Description** |
| Stack monitoring | Unit M1 | All readings were within DOE limit except as mentioned below:   * M1 under maintenance planned outage from 7 - 8 april 2019. * Opacity maximum readings exceeded limit for 28 days suspect due to ESP rapping and maintenance activities but average reading below the DOE limit except for 1 day. 1 day operation above 40% with accumulated time exceed 15 min/day due to unit light up. |
| Unit M2 | All readings were within DOE limit except as mentioned below:   * Opacity maximum readings exceeded limit for whole month suspect due to ESP rapping and maintenance activities and daily average reading above the CAR 2014 DOE limit except for 1 day. 28 days operation above 40% with accumulated time exceed 15 min/day. |
| Unit M3 | All readings were within DOE limit except as mentioned below:   * Opacity maximum reading and daily average exceeded limit CAR 2014 for 20 days suspect due to ESP rapping and maintenance activities but average reading below the DOE limit except for 8 days. 3 days operation above 40% with accumulated time exceed 5 min/hr and 5 days operation above 40% with accumulated time exceed 15 min/day |
| Unit M4 | All readings were within DOE limit except as mentioned below:   * SO2 maximum readings exceeded limit for 7 days but daily average reading below the CAR 2014 DOE limit except for 1 day. |
| Rain Water | AQM No. 1 | Average pH reading was 5.09 |
| AQM No. 2 | Average pH reading was 4.90 |
| AQM No. 3 | Average pH reading was 5.02 |
| Ambient Air | AQM No. 1 | All readings were within DOE limit. |
| AQM No. 2 | All readings were within DOE limit except as mention below:   * PM10 exceeded maximum limit for 8 days suspected from road dust and haze. * PM2.5 exceeded maximum limit for 14 days suspected from road dust and haze. |
| AQM No. 3 | All readings were within DOE limit except as mention below:   * PM10 exceeded maximum limit for 1 day suspected from road dust and haze. * PM2.5 exceeded maximum limit for 1 day suspected from road dust and haze |
| Noise Level | NM1- North bank of island. | Day and night Leq dB readings within limit. |
| NM2- East bank of island | Day and night Leq dB readings within limit. |
| NM3- North bank of island (Middle) | Day and night Leq dB readings within limit. |
| NM4-West bank of island | Day and night Leq dB readings within limit. |
|  |
| GF 1  IWWTP Effluent |  | All parameters tested within DOE standard B limit |
| GF 2  IWWTP Effluent |  | All parameters tested within DOE standard B limit |
|  |
| GF1  CYWWTP Effluent |  | All parameters tested within DOE standard B limit. |
| GF2  CYWWTP Effluent |  | All parameters tested within DOE standard B limit |
|  |
| GF1  Cooling water | Fore bay | All parameters tested within the DOE standard B limit |
| Outfall | All parameters tested within the DOE standard B limit |
| GF2  Cooling water | Fore bay | All parameters tested within the DOE standard B limit |
| Outfall | All parameters tested within the DOE standard B limit |
| GF1  Storm water | N/A | All parameters tested within the DOE standard B limit. |
| GF2  Storm water | N/A | All parameters tested within the DOE standard B limit. |
| Scheduled Wastes Disposed  (MT) | N/A | SW110 – 0.284  SW204 – 1.0  SW305 – 3.2  SW409 – 0.416 |

1. **Effluent (treated water) Discharged:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **NO.** | **PLANT** | **TOTAL DISCHARGED THIS MONTH**  **m3** | **TOTAL DISCHRAGED**  **IN THIS FY**  **m3** | **REMARKS** |
| 1 | GF1 IWWTP | 36,367 | 136,989 |  |
| 2 | GF1 CYWWTP | 7,882 | 23,863 |  |
| 3 | GF2 IWWTP | 23,246 | 100,773 |  |
| 4 | GF2 CYWWTP | - | - | RECYCLED |
| **TOTAL** | | **67,495** | **261,625** |  |

1. **List of activities related to environment in FY2019**

|  |  |
| --- | --- |
| **Date** | **Activities** |
| 9-11 Jan 2019 | ISO:HSE Legal Requirements and Internal Audit Course/training (ISO9001,14001 & 45001) |
| 25 Feb-1 Mar 2019 | Internal Audit |

1. Environmental achievement

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | |
| **Description** | **ISEMS Score / Rating** | | |
| **FY 14/15** | | **FY 15/16** |
| ENVIRONMENTAL (EMS) AUDIT SCORE | 93.50% | | 95.40% |
|  |  |  | |